# ANCHOR_BOLT_READINESS_CHECK

PEB Detailing Handoff Validation Protocol

Report Generated: 2026-05-06 11:38:01

Project: C163-027 | Building: C163-027-BldgNo.1

Total Anchor Groups: 3

# READINESS SUMMARY

| Status | Count | Percentage |
| --- | --- | --- |
| READY | 0 | 0% |
| CONDITIONAL | 0 | 0% |
| BLOCKED | 3 | 100% |

OVERALL_ANCHOR_BOLT_STATUS: BLOCKED

# DETAILED READINESS TABLE

| Anchor_Group_ID | Column_Object_ID | No_of_Bolts | Bolt_Dia | Bolt_Grade | Status |
| --- | --- | --- | --- | --- | --- |
| AB-001 | OBJ-ABT-001 | 80 | M24 | A36 | BLOCKED |
| AB-002 | OBJ-ABT-001 | 32 | M20 | A36 | BLOCKED |
| AB-003 | OBJ-ABT-001 | 8 | M16 | A36 | BLOCKED |

# BLOCKING_EXCEPTION_LIST

AB-001

Column: OBJ-ABT-001

Blocking Issues:

Bolt_Projection missing

Pitch/Gauge missing

Edge_Distance_X/Y missing

Bolt_Group_Rotation unknown/missing

Remarks: Length TBD per foundation design; assume GL+0.6m base (E-001)

AB-002

Column: OBJ-ABT-001

Blocking Issues:

Bolt_Projection missing

Pitch/Gauge missing

Edge_Distance_X/Y missing

Bolt_Group_Rotation unknown/missing

Remarks: Endwall column anchors; length provisional

AB-003

Column: OBJ-ABT-001

Blocking Issues:

Bolt_Projection missing

Pitch/Gauge missing

Edge_Distance_X/Y missing

Bolt_Group_Rotation unknown/missing

Remarks: Temporary/tie anchors; length provisional

# REQUIRED_HUMAN_ACTION_LIST

AB-001

Current Design Status: SEED_ONLY

Required Actions:

Base_Centre coordinates incomplete - may need grid/design resolution

Remarks: Length TBD per foundation design; assume GL+0.6m base (E-001)

AB-002

Current Design Status: SEED_ONLY

Required Actions:

Base_Centre coordinates incomplete - may need grid/design resolution

Remarks: Endwall column anchors; length provisional

AB-003

Current Design Status: SEED_ONLY

Required Actions:

Base_Centre coordinates incomplete - may need grid/design resolution

Remarks: Temporary/tie anchors; length provisional

# VALIDATION_RULES_APPLIED

Rule 1: If Column_Object_ID is missing → BLOCKED

Rule 2: If Base_Plate_ID is missing → BLOCKED

Rule 3: If grid coordinates missing → BLOCKED

Rule 4: If support reactions missing and design status not externally verified → BLOCKED

Rule 5: If No_of_Bolts missing → BLOCKED

Rule 6: If Bolt_Dia missing → BLOCKED

Rule 7: If Bolt_Grade missing → BLOCKED

Rule 8: If Embedment_Length missing → BLOCKED

Rule 9: If Projection missing → BLOCKED

Rule 10: If Pitch/Gauge/Edge_Distance missing → BLOCKED

Rule 11: If Bolt_Group_Rotation unknown → BLOCKED

Rule 12: Do not infer anchor bolt details from normal bolt data

# NOTES

All three anchor bolt groups are currently blocked due to missing geometric and design parameters.

Primary blocking factors:

Missing Bolt_Projection, Pitch/Gauge, Edge_Distance, and Bolt_Group_Rotation

Incomplete Base_Centre coordinates (X, Y, Z) requiring grid/design resolution

Next Steps:

Obtain foundation design details from structural engineer

Resolve grid coordinates to actual center positions

Define bolt group geometry (spacing, edge distances, rotation)

Confirm embedment and projection lengths per foundation design

Update anchor bolt seed with resolved parameters

Re-run readiness check for advancement to CONDITIONAL/READY status