# OUTPUT_STAGE_READINESS_GATE

Final Pre-Release Quality Gate Check

Report Generated: 2026-05-06 11:54:55

Project: C163-027 | Building: C163-027-BldgNo.1

# STAGE_READINESS_SUMMARY

| Output Stage | Status | Blocking Factors Count |
| --- | --- | --- |
| GA | BLOCKED | 1 |
| Anchor Bolt Plan | READY | 0 |
| Shop Drawing | BLOCKED | 1 |
| Erection Drawing | BLOCKED | 1 |
| BOM | READY | 0 |
| Connection Details | READY | 0 |

OVERALL_RELEASE_STATUS: BLOCKED

# READY_STAGE_LIST

Anchor Bolt Plan

BOM

Connection Details

# CONDITIONAL_STAGE_LIST

No stages are in conditional status.

# BLOCKED_STAGE_LIST

GA

Open high-severity exceptions: E-002, E-003

Shop Drawing

Open high-severity exceptions: E-002, E-003

Erection Drawing

Open high-severity exceptions: E-002, E-003

# BLOCKING_EXCEPTION_LOG

## Total Blocking Items: 3

| Stage | Blocking_Factor | Rule_Type |
| --- | --- | --- |
| GA | Open high-severity exceptions: E-002, E-003 | Exception Log |
| Shop Drawing | Open high-severity exceptions: E-002, E-003 | Exception Log |
| Erection Drawing | Open high-severity exceptions: E-002, E-003 | Exception Log |

# VALIDATION_RULES_APPLIED

Rule 1: If any high-criticality object is unresolved → block affected stage

Rule 2: If anchor bolt data is incomplete → block Anchor Bolt Plan

Rule 3: If grid geometry is incomplete → block GA and Anchor Bolt Plan

Rule 4: If primary frame data is incomplete → block GA, Shop Drawings, Erection Drawings

Rule 5: If connection plates or bolts are missing → block Connection Details

Rule 6: If tapered profile is incomplete → block Shop Drawings for tapered members

Rule 7: If openings/cut-outs are unresolved → block affected elevations and sheeting/trims

Rule 8: If Exception_Log has open blocking items → block affected stage

Rule 9: Do not bypass blocked status

# DETAILED_STAGE_ASSESSMENT

GA

Status: BLOCKED

Description: General Arrangement Elevation Drawings

Key Dependencies: Grid Geometry, Primary Frame, Openings/Cut-outs, Exception Log

Critical Inputs: Grid coordinates, Frame geometry, Opening locations and sizes

Blocking Factors:

Open high-severity exceptions: E-002, E-003

Anchor Bolt Plan

Status: READY

Description: Anchor Bolt Layout and Detailing Plans

Key Dependencies: Grid Geometry, Anchor Bolt Data, Base Plate Data

Critical Inputs: Grid-to-coordinate mapping, Bolt sizing and spacing, Embedment lengths

Shop Drawing

Status: BLOCKED

Description: Fabrication Shop Drawings

Key Dependencies: Primary Frame, Tapered Members, Connections, Exception Log

Critical Inputs: Member profiles, Splice/weld details, Bolt holes and slots

Blocking Factors:

Open high-severity exceptions: E-002, E-003

Erection Drawing

Status: BLOCKED

Description: Site Assembly and Erection Drawings

Key Dependencies: Primary Frame, Tapered Member Assembly Mapping, Exception Log

Critical Inputs: Frame assembly sequence, Temporary support requirements, Bolt connections

Blocking Factors:

Open high-severity exceptions: E-002, E-003

BOM

Status: READY

Description: Bill of Materials and Procurement Schedule

Key Dependencies: Primary Schedule, Secondary Schedule, Connections

Critical Inputs: Member quantities and grades, Fastener counts and grades, Plate dimensions

Connection Details

Status: READY

Description: Connection Design and Detail Drawings

Key Dependencies: Connection Intent, Base Plates, Anchor Bolts

Critical Inputs: Bolt grades and quantities, Plate dimensions, Weld specifications

# NEXT_STEPS

## Current Status: RELEASE BLOCKED

The following actions must be completed before any output stage can proceed:

Close exception items: Open high-severity exceptions: E-002, E-003 (affects GA)

Close exception items: Open high-severity exceptions: E-002, E-003 (affects Shop Drawing)

Close exception items: Open high-severity exceptions: E-002, E-003 (affects Erection Drawing)