| OUTLINE SPECIFICATIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date |  | 27 Mar 2025 |  | Client |  |  |  |  |  |  |  |  |  | Project Location |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Proposal Id |  | C42 |  | Project |  |  |  |  |  |  |  |  |  | Building No. |  |  |  | 1 |  |  |  | Option | 1 |  |  |  | Revision |  | 0 |
| Sr.No. | Description |  | PEB SPECIFICATIONS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Building type |  | Multi span |  |  |  |  |  |  |  |  | Area in m2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Length in m (o/o of steel) |  |  |  |  |  |  |  |  |  |  | Length wise bay spacing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Width in m (o/o of steel) |  |  |  |  |  |  |  |  |  |  | End wall column spacing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Width modules in m |  |  |  |  |  |  |  |  |  |  | No. of interior columns per frame |  |  |  | 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clear height in m |  |  |  |  |  |  |  |  |  |  | Frames symmetrical |  |  |  | Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Roof |  | Slope: 10:100 |  |  |  | Cladding: 0.45 mm Aluzinc coated steel panels |  |  |  |  |  |  |  | Rainwater drainage: Eave Gutters and Down spouts |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Future Expansion |  | NA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Block Wall |  | All around 3 m height block wall; bypass condition, wall width 230mm |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Column base elevations |  | NA (At FFL) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Wall Cladding |  | 0.45 mm Aluzinc coated steel panels above block wall |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Insulation |  | Roof: NA |  |  |  |  |  |  |  |  | Outer Walls: NA |  |  |  | Partition walls: NA |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Openings |  | Outer side only; Numbers; Type; Size in m (w x h). Doors; 2; RUD; 3x3. Windows; NA; NA; NA. Location of doors & bracing Side Wall Gridlines; 1-2; 2-3; 3-4; 4-5; 5-6; 6-7; 7-8; 8-9; Right End Wall. Front Side Wall. Back Side Wall. End Wall Axes; A-B; B-C; C-D; D-E; E-F; F-G; G-H; Back Side Wall. Right End Wall; X. Left End Wall; X. |
|  | Extensions |  | Eave: NA |  | Gable: NA |  |  | Canopies: Extension in m: 1.5; Location: Above RUDs. Clear height in m: 3.5; Rainwater drainage: NA. Slope: 1:10; Soffit panels: NA. | Parapet: NA |  |  |  |  |  |
|  | Accessories |  | Wall Lights: |  |  |  |  |  |  | One between two intermediate columns (n nos., FRP 3.25m x 1m each) |  |  |  |  |  |  |  |  | Roof Monitor |  |  |  |  |  | NA |  |  | Any other: NA |  |
|  |  |  | Skylights: |  |  |  |  |  |  | Two per bay (n nos., FRP 3.25m x 1m each) |  |  |  |  |  |  |  |  | Cage ladder |  |  |  |  |  | NA |  |  |  |  |
|  |  |  | Turbo Ventilators: |  |  |  |  |  |  | Two per bay (n nos., 600 mm throat diameter) |  |  |  |  |  |  |  |  | Ridge Ventilators: |  |  |  |  |  | NA |  |  |  |  |
|  | For Frames (Standard codes and manuals used in design - 2010 Metal Building Systems Manual, NAUS07, AISC05, UBC 1997) Design Software: MBS |  | DESIGN LOADS |  |  |  |  |  |  |  | LOCATION - CLIMATIC DATA |  |  |  |  |  |  |  |  | SERVICEBILITY CRITERIA |  |  |  |  |  |  |  |  |  |
|  |  |  | Dead Load in kN/m2 |  |  |  |  |  | 0.10 |  | Max wind speed in m/s |  |  |  |  |  |  |  |  | Frames |  |  |  |  |  | H/100, L/150 |  |  |  |
|  |  |  | Live Load in kN/m2 |  |  |  |  |  | 0.575 |  | Exposure category |  |  |  |  |  | B |  |  | Purlins |  |  |  |  |  | Span/150 |  |  |  |
|  |  |  | Collateral load in kN/m2 |  |  |  |  |  | 0.05 |  | Max rainfall intensity in mm/hr |  |  |  |  |  | 150 |  |  | Girts |  |  |  |  |  | Span/120 |  |  |  |
|  |  |  | Any other |  |  |  |  |  | NA |  | Seismic Design category (Coefficient) |  |  |  |  |  | II (0.1) |  |  | Crane Beams |  |  |  |  |  | Span/600 |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | Max Temperature variation in °C |  |  |  |  |  | 20 |  |  | Mezzanine Beams |  |  |  |  |  | Span/240 |  |  |  |
|  |  |  | DESIGN LOADS |  |  |  |  |  |  |  | LOCATION - CLIMATIC DATA |  |  |  |  |  |  |  |  | SERVICEBILITY CRITERIA |  |  |  |  |  |  |  |  |  |
|  | For Frames (Standard codes and manuals used in design – IS 800 2007, IS 875-Part -III, IS 801, IS 1893 Part 2002-PartII) Design Software: MBS |  | Dead Load in kN/m2 |  |  |  |  |  | 0.15 |  | Max wind speed in m/s |  |  |  |  |  |  |  |  | Frames |  |  |  |  |  | H/100, L/180 |  |  |  |
|  |  |  | Live Load in kN/m2 |  |  |  |  |  | 0.75 |  | Exposure category |  |  |  |  |  | B |  |  | Purlins |  |  |  |  |  | Span/150 |  |  |  |
|  |  |  | Collateral load in kN/m2 |  |  |  |  |  | 0.05 |  | Max rainfall intensity in mm/hr |  |  |  |  |  | 150 |  |  | Girts |  |  |  |  |  | Span/150 |  |  |  |
|  |  |  | Any other |  |  |  |  |  | NA |  | Seismic Design category (Coefficient) |  |  |  |  |  | II (0.1) |  |  | Crane Beams |  |  |  |  |  | Span/750 |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | Max Temperature variation in °C |  |  |  |  |  | 20 |  |  | Mezzanine Beams |  |  |  |  |  | Span/240 |  |  |  |
|  | Crane |  | Crane Capacity in MT: Crane beam top height in m: Crane span in m: Crane running length in m: Crane class: II (Normal duty) |  |  |  |  |  |  |  | Crane Type: Top running Type of Girder: Single Walkway / Service platform: NA Monkey ladder: NA |  |  |  |  |  |  |  |  | Bridge Weight in MT: Hoist/Trolley Weight in MT: Number of Wheels: 2 Wheel Load in MT: Wheel Base in mm: |  |  |  |  |  |  |  |  |  |
|  | Mezzanine |  | Location: Loading: Live load in kN/m2: 5 Dead load in kN/m2: 2.5 Collateral load in kN/m2: 0 |  |  |  |  |  |  |  |  |  | Dimensions: Length in m: Width in m: Top of the Mezzanine Floor in m: Depth of mezzanine slab in mm: 100 Deck sheeting thickness: 0.7mm |  |  |  |  |  |  |  | Accessories: Staircase Nos.: 1 Location: Type: Double staircase with intermediate landing Handrail: All round |  |  |  |  |  |  |  |  |
|  | Partition Walls |  | NA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Jack Beam |  | NA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Assumptions & Remarks |  | Built-up sections are made from hot rolled plates conforming to ASTM A-572 Gr50 (345MPa) steel. The plates are joined together with double side welding. Sections consist of minimum 5mm for flange & minimum 4mm for web thickness. Cold formed sections thickness 1.5 mm or more are made of hot rolled sheet of Gr50 (345 MPa) steel. Primary structural connections are high strength machine bolts conforming to ASTM A325 or equivalent. Sheeting profile considered is of 1 m standard width, formed from a coil of 1.220 m. Single colour sheeting of up to maximum 9 m lengths is considered. Not considered in scope: Foundation, Block wall (Civil work). Crane Bridge, Trolley, Rail and its installation. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Key Design considerations |  | 1. For wind calculation Exposure B as per MBMA-2010 is considered. 2. Building is designed for Enclosed / Partially closed / Open condition. 3. All main frame columns are considered as pinned / Fixed base; rest end wall columns are pinned base. 4. Cable/Rod Bracing at Roof & Cable/Rod /angle bracing @ walls considered 5. Abus crane data considered for design. The customer must provide the crane data before final design. 1. For wind calculation Terrain category is considered as per IS 875 Part – III, 2015 is considered. 2. Internal coefficient is 0.2+/- is considered for wind calculation. 3. All main frame columns are considered as Fixed base; rest end wall columns are pinned base. 4. Cable/Rod Bracing at Roof & Cable/Rod /angle bracing @ walls considered 5. Abus crane data is considered for design. The customer must provide the crane data before final design. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Instructions (if any) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |