## Sheet1
Designer | Job code | Date
Parameter | Specifications | Design | Drawings | Estimation
Job code
Length
Width
Clear or eave height
B/W condition
Roof & wall sheeting
Openings
Extensions
Translucent sheets
Ventilation system
Design code
Software
Wind speed & seismic zone
Crane loading
Crane height
Mezzanine area
Mezzanine loading
Mezzanine height
Miscellaneous (Facia, Partition, etc)
Written data of client conversations
Files kept in folder
Don't leave blank spaces in estimation
Designer's Signature

## Sheet2
DATE- |  | DESIGNER-
Head | Break up | Benchmark Range (kg/sqm) | REVIEW
Primary Structure | (Columns, Beams, Rafters,jack beam) | 9.5- 14 kg/sqm
Secondary Structure | (Purlins, Girts, header jamb,Bracings,Flange brace) | 4 - 6 kg/sqm
Roofing | (Roofing sheet, Insulation) | 4 - 5 kg/sqm
Wall Cladding | (Wall Cladding, Insulation, Window / Loovers frames) | 4 - 5 kg/sqm
Accessories | (roof monitor, , Gutters, Trims) | 1 - 1.5 kg/sqm
Cranes | (Rails, Brackets, Supporting Beams) | 5 - 7 kg/sqm
Canopies | (Cantilevered or Supported) | 4 - 8 kg/sqm
Mezzanine Floors | (Decking, and accessories) | 6.8 - 7.5 kg/sqm
Mezzanine Floors | (Beams, Joists, Columns) | 10 - 12 kg/sqm
Staircase | 600 kgs per mtr of ht