# Q-1382-INQUIRY FORM

| Specification | Details |
| --- | --- |
| Application | Warehouse |
| Length in m |  |
| Width in m |  |
| Length wise bay spacing in m | 6@7.5 |
| End wall column bay spacing in m | 2@5.0 |
| No. of interior columns per frame & Width modules in m | 0 interior columns, 1@10 m |
| Mezzanine (Length ,width & Height) | NA |
| Jack beam | NA |
| Partition Walls | NA |
| Crane Capacity & Span & Height | NA |
| Clear height in m | 6 |
| Roof slope | 10:100 |
| Block Wall in m | NA |
| Metal Color Coated Louvers | NA |
| Roof Monitor | NA |
| Column base elevations in m | NA (At FFL) |
| Framed Openings for Rolling Shutters | NA |
| Canopies extension & height | NA |
| Roof Access Ladder | NA |
| Roof Cladding | 0.45 mm Aluzinc coated steel panels |
| Wall Cladding | 0.45 mm Aluzinc coated steel |
| Gutter | Included |
| Wind Bracing | NA |
| Design code | MBMA-2010, NAUS07, AISC05, UBC 1997 |
| Design Software | MBS |
| Dead Load (kN/m²) | 0.10 |
| Live Load on Rafters & Purlins (kN/m²) | 0.575 |
| Dead Load on Mezzanine (kN/m²) | NA |
| Live Load on Mezzanine (kN/m²) | NA |
| Collateral Load 1 | 0.05 |
| Collateral Load 2 on Columns | NA |
| Collateral Load on Mezzanine | NA |
| Crane Walkways/Platforms | NA |
| Wind Speed (m/s) | 36.11 |
| Seismic Zone | II (0.33) |
| Importance Factor | NA |
| Main Frame Deflection | H/100, L/150 |
| Purlins Deflection | Span/150 |
| Mezzanine Beam Deflection | Span/240 |